Table S3-2: Quantitative real-time PCR parameters according to the Minimum Information for publication of Quantitative real-time PCR Experiments (MIQE) guidelines derived from Bustin et al. (2009). All procedures were performed according to the manufacturer’s protocols.

| Sample/Template |
| --- |
| Source | Stems of Medicago sativa plants cultivated in soil |
| Method of preservation | Liquid nitrogen |
| Storage time | 12 month at -80 °C |
| Handling | Frozen |
| Extraction method | Phenol-free Total RNA isolation: RNAqueousTM Kit (Life Technologies) |
| RNA: DNA-free | TURBO DNA-freeTM Kit (Life Technologies) Design of intron-spanning primers whenever possible |
| Concentration | NanoDrop®: ND-1000 Spectrophotometer (Thermo Fischer Scientific) |
| Assay optimisation and validation |
| Accession number | Table S3-1 |
| Amplicon details | Amplicon size: Table S3-1 |
| Primer sequences | Table S3-1 |
| In silico | Primer design with the Primer3Plus online tool (www.bioinformatics.nl/cgi-bin/primer3plus/primer3plus.cgi) and primer analysis with OligoAnalyzer 3.1 (https://eu.idtdna.com/calc/analyzer) |
| Empirical | A primer concentration of 100 nM was used Annealing temperature: 60°C |
| Priming conditions | Combination of oligodT-primers and random hexamers |
| PCR efficiency | Dilution series (slope, y-intercept and r²; Table S3-1) |
| Linear dynamic range | Samples are situated within the range of the efficiency curve |
| Reverse transcription - PCR |
| Protocols | As stated in the materials and methods section |
| Reagents | As stated in the materials and methods section |
| No template control (NTC) | Cq and dissociation curve verification |
| Data analysis |
| Specialist software | ViiA7 Real-Time PCR system (Applied Biosystems) qBasePLUS software v2.5 (Biogazelle) |
| Statistical justification | Five biological replicates Relative expression of each gene was calculated as an average after elimination of outliers Log transformation of the data Significance of changes in gene expression was determined automatically qBasePLUS software v2.5 (Biogazelle) |
| Normalisation | Two reference genes were selected as described in the materials and methods section |