## Slide 1
First Microdosimetric measurements with a sealed mini-TEPC at the clinical proton SOBP of CATANA
1 Belgian Nuclear Research Center, SCK CEN, Boeretang 200, 2400 Mol, Belgium
2 Uhasselt, Faculty of Engineering Technology, Campus Diepenbeek, Agoralaan, 3590 Diepenbeek, Belgium
3 INFN Laboratori Nazionali di Legnaro, Viale dell’università 2, I-35020 Legnaro, Padova, Italy
4 INFN Laboratori Nazionali del Sud, Via Santa Sofia 62, 95125 Catania, Italy
A. Bianchi1,2,3, V. Conte3, A. Selva3, P. Colautti3, G. Petringa4, G. A. P. Cirrone4, A. Parisi1, B. Reniers2, F. Vanhavere1
Corresponding author: A. Bianchi (abianchi@sckcen.be)
3rd International Conference on Dosimetry and Applications
Session on Micro and Nanodosimetry I
27 May 2019
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 2
Mini-TEPC
Reference devices
Gas-steady modality
Tissue
Equivalent
Proportional
Counter
Mini
-
High intensity beams
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.15385 | 0.84615
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 3
Gas – Steady Modality
Gas aging
LET
Counting rate
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.23077 | 0.76923
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019
Time

## Slide 4: Detector Characterization at 1µm
Gas-steady modality feasibility study in different radiation fields

## Slide 5
y calibration
Gamma rays radiation field
Low LET-Low Rate
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.38462 | 0.61538
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 6
Neutron radiation field
Medium LET-Low Rate
γ-spectrum
n-spectrum
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.46154 | 0.53846
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 7
Medium LET-High Rate
62 MeV proton beam of CATANA
2 measurement campaigns 4 months apart
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.53846 | 0.46154
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 8
62 MeV proton beam of CATANA
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.61538 | 0.38462
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 9
Conclusions
Time stability in 4 months STABLE
Gas aging due to LET (<100 keV/µm) ABSENT
Gas aging due to counting rate ABSENT
Detector Characterization
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.69231 | 0.30769
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 10: Beam Characterization at 1µm
Characterization of the CATANA 62 MeV proton SOBP with a sealed mini-TEPC

## Slide 11
Microdosimetry of the 62 MeV proton beam CATANA
Dose-averaged lineal energy
Dose-averaged LET
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.84615 | 0.15385
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 12
Advantages of microdosimetry:
FAST measurement technique
REPRODUCIBLE results
ACTIVE detector for online monitoring
Microdosimetry of the 62 MeV proton beam CATANA
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 0.92308 | 0.076923
8 Gy neutrons, early intestinal tolerance assessed by crypt regeneration in vivo
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019
Notes: CAL-4: (Centre Antoine Lacassagne-4) melanoma human cells form metastatic site: Axillary lymph node
SCC-25: Human tongue squamous cell carcinoma

## Slide 13
Conclusions
Next step:
New generation of mini-TEPCs optimized for gas-steady modality
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 1 | 0
Reproducible and consistent in 2 different measurement campaigns
Consistent with MC simulations and it reproduces RBE data trend
Beam Characterization
Time stability in 4 months STABLE
Gas aging due to LET (<100 keV/µm) ABSENT
Gas aging due to counting rate ABSENT
Detector Characterization
Time stability in 4 months STABLE
Gas aging due to LET (<100 keV/µm) ABSENT
Gas aging due to counting rate ABSENT
Detector Characterization
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019

## Slide 14
Conclusions
Next step:
New generation of mini-TEPCs optimized for gas-steady modality
Chart: 
| 1st Qtr | 2nd Qtr
Sales | 1 | 0
Anna Bianchi (abianchi@sckcen.be) – ICDA3, Lisbon – 27/05/2019
Reproducible and consistent in 2 different measurement campaigns
Consistent with MC simulations and it reproduces RBE data trend
Beam Characterization
Time stability in 4 months STABLE
Gas aging due to LET (<100 keV/µm) ABSENT
Gas aging due to counting rate ABSENT
Detector Characterization
Thank you!

## Slide 15
Copyright © 2018 - SCKCEN
PLEASE NOTE!
This presentation contains data, information and formats for dedicated use only and may not be communicated, copied, reproduced, distributed or cited without the explicit written permission of SCK•CEN. If this explicit written permission has been obtained, please reference the author, followed by ‘by courtesy of SCK•CEN’.
Any infringement to this rule is illegal and entitles to claim damages from the infringer, without prejudice to any other right in case of granting a patent or registration in the field of intellectual property.
SCK•CEN
Studiecentrum voor Kernenergie
Centre d'Etude de l'Energie Nucléaire
Belgian Nuclear Research Centre
Stichting van Openbaar Nut
Fondation d'Utilité Publique
Foundation of Public Utility
Registered Office: Avenue Herrmann-Debrouxlaan 40 – BE-1160 BRUSSELS
Operational Office: Boeretang 200 – BE-2400 MOL